## Instructions
WORKSHEET FOR COST COMPARISON AND PAYBACK OF LED LIGHTING UPGRADES
Introduction
This worksheet is intended for use with Fact Sheets prepared by Waste Reduction Partners for lighting upgrades with LED products. These Fact Sheets are available at: wastereductionpartners.org.
For fixtures operating more than 40 hours per week, the annual energy cost saving may be sufficient to justify upgrading tungsten, halogen or T12 linear fluorescent lamps to LED products. In other situations, the higher cost of LED products may appear to be a barrier to an upgrade. For these cases a more detailed cost analysis is required and should include initial cost and rebates, labor, and replacement cost and labor.
The work sheets on the adjacent tabs allows the current fixture to be compared to an upgrade by prorating the cost of operation on an annual basis. This method allows a direct comparison of fixture with differing initial cost, operating cost and maintenance cost.
Note: Using a life cycle cost is not recommended when the usage would be spread across more than 6 years. The savings may appear large, but depend strongly on the validity of the assumptions about the life of the product. The benefit of a large initial cost may or may not be realized over time.
The worksheets contains a filled out examples for bulbs, troffers and high bay / low bay applications. The examples also illustrate different electric rate schedule s for small and large general service and with/without demand charges.
About This Work Sheet
This work sheet is produced by Waste Reduction Partners, a program of the Land of Sky Regional Council and the N.C. Department of Environment and Natural Resources, Division of Environmental Assistance and Customer Service. The work of WRP is sponsored, in part, by the State Energy Program and the U.S. Department of Energy. However, any opinion, findings, conclusions, or recommendations expressed herein are those of the author(s) and do not necessarily reflect the views of either the N.C. DENR or the U.S. DOE. An online version of the associated fact sheet is available at: wastereductionpartners.org.
Instructions
A common worksheet is available on the three adjacent tabs (below). The tabs differ in the example: bulbs, troffers and high bay / low bay. The also differ in the electric rate used in the example.
Basic information about the before and after cases is entered in the white cells and the results will populate the light gray cell. Alternatively, the comparison can be done manually using the equations listed in the right hand column. The individual fixture costs can be scaled by the quantity of fixtures to determine project costs.
The parameters to be entered in the white cells are:
Type. Enter description of before and after equipment.
Watts. This is the wattage of the before and after fixtures including ballast and the total wattage of the lamps in the fixture.
Hours per year. Estimate of the annual operating time for the fixture.
Incremental usage rate. Refer to an electric bill or utility web site for rate schedules. The incremental usage rate is the rate that would be applied to the last kWh consumed. For meters on a Time of Use rate, estimate the fraction of on peak and off peak for the lighting involved. Then combine the on peak and off peak rates weighted by these fractions.
Demand rate per kW. The demand rate would apply only if the lighting was turned on during the short period when peak demand occurs. Use zero if lighting upgrade will not change demand charge.
Life. This is the rated life of the light source.
Material cost per replacement. Both the before and after fixture with require service when the light output is no longer acceptable. Enter to cost of a full set of bulbs or lamps for the before fixture. If the after fixture uses LED bulbs, then used the cost without rebate for a full set of bulbs. Some LED fixtures (troffers, high bay and low bay) cannot be serviced and the whole fixture must be replaced. For other LED fixtures the replacement light source may be expensive. The cost to service a LED unit may not be readily available. Using half the new fixture price can be a starting point.
Labor cost per replacement. This cost may be low (included in maintenance budget) or high (and electrician replacing a complex LED troffer or renting a life). Enter the best estimate available.
Investment cost of lamp(s), kit or fixture. This item is the cost of all materials to upgrade the fixture.
Rebate. Rebates and incentives are widely available for LED products from utilities and other sources.
Labor cost for installation. This cost can vary from low (changing lamps) to high (electrician wiring new unit up on a lift). Enter best estimate available.
Results will be populated in the light gray cells when sufficient information has been entered in the white cells.
The worksheet is protected except for the white entry cells because overwriting other cells would create computational errors.

## Bulbs Work Sheet
WORKSHEET FOR COST COMPARISON AND PAYBACK OF LED LIGHTING UPGRADES
For use with Fact Sheets prepared by Waste Reduction Partners available at: wastereductionpartners.org
Enter values in white cells
Formulas calculate values in gray cells |  | when necessary values have been entered
| EXAMPLE |  |  | COMPARISON
| Before | After | Saving | Before | After | Saving
Project Parameters
Type | Halogen | LED
Watts per fixture | 72 | 15 | 57
Operating hours per year | 3000 | 3000
Incremental usage rate per kWh, Note 1 | 0.116 | 0.116
Demand rate per kW, Note 1
Annual Energy Cost per Fixture
Kilowatt hours per year, kWh [Watts] x [Operating hours] x [.001 kW/W] = | 216 | 45 | 171
Electric usage cost per year [kWh per year] x [Incremental usage rate] = | 25.056 | 5.22 | 19.836
Electric demand cost per year [Watts] x [.001 kW/W] x [demand rate] x [12 months] = | 0 | 0 | 0
Annual Maintenance Cost per Fixture
Life, hours | 1000 | 25000
Replacements per year [Life] / [Hours on per year] = | 3 | 0.12
Material cost per replacement, Note 2 | 1.49 | 18.47
Material cost per year [Material cost] x [Replacements per year] = | 4.47 | 2.2164
Labor cost per replacement, Note 3 | 2 | 2
Labor cost per year [Labor cost] x [Replacements per year] = | 6 | 0.24
Maintenance cost per year [Material cost per year] + [Labor cost per year] = | 10.47 | 2.4564 | 8.0136
Annual Saving per Fixture
Annual Savings [Usage savings] + [Demand savings] + [Maintenance Savings] = |  |  | 27.8496
Investment Cost per Fixture
Material cost of lamp(s), kit or fixture |  | 18.47
Rebate |  | 10
Labor cost for installation |  | 2
Investment cost per fixture [Cost] - [Rebate] + [Labor] = |  | 10.47
Payback Period
Simple Payback, years [Investment cost] / [Annual saving] = |  |  | 0.37595
Note 1. Refer to an electric bill or utility web site for rate schedules. The incremental usage rate is the rate that would be applied to the last kWh consumed. For meters on a Time of Use rate, estimate the fraction of on peak and off peak for the lighting involved. Then combine the on peak and off peak rates weighted by these fractions. The demand rate would apply only if the lighting was turned on during the short period when peak demand occurs. Use zero if lighting upgrade will not change demand charge. EXAMPLE. Duke Energy Small General Service rate for first 3000 kWh per month is $0.116238 per kWh (decreases to $0.071353 for higher usage) and no demand charge for less then 30 kW per month.
Note 2. Replacement costs may not be well known. EXAMPLE assumes new.
Note 3. Labor cost will vary significantly between projects. EXAMPLE amounts are for illustration only.
About This Work Sheet
This work sheet is produced by Waste Reduction Partners, a program of the Land of Sky Regional Council and the N.C. Department of Environment and Natural Resources, Division of Environmental Assistance and Customer Service. The work of WRP is sponsored, in part, by the State Energy Program and the U.S. Department of Energy. However, any opinion, findings, conclusions, or recommendations expressed herein are those of the author(s) and do not necessarily reflect the views of either the N.C. DENR or the U.S. DOE. An online version of the associated fact sheet is available at: wastereductionpartners.org.

## Troffer Work Sheet
WORKSHEET FOR COST COMPARISON AND PAYBACK OF LED LIGHTING UPGRADES
For use with Fact Sheets prepared by Waste Reduction Partners available at: wastereductionpartners.org
Enter values in white cells
Formulas calculate values in gray cells |  | when necessary values have been entered.
| EXAMPLE |  |  | COMPARISON
| Before | After | Saving | Before | After | Saving
Project Parameters
Type | T12 4ft. 4 lamp | LED Troffer
Watts per fixture | 148 | 45 | 103
Operating hours per year | 5000 | 5000
Incremental usage rate per kWh, Note 1 | 0.071353 | 0.071353
Demand rate per kW, Note 1 | 3.8614 | 3.8614
Annual Energy Cost per Fixture
Kilowatt hours per year, kWh [Watts] x [Operating hours] x [.001 kW/W] = | 740 | 225 | 515
Electric usage cost per year [kWh per year] x [Incremental usage rate] = | 52.8012 | 16.0544 | 36.7468
Electric demand cost per year [Watts] x [.001 kW/W] x [demand rate] x [12 months] = | 6.8578 | 2.0852 | 4.7727
Annual Maintenance Cost per Fixture
Life, hours | 20000 | 50000
Replacements per year [Life] / [Hours on per year] = | 0.25 | 0.1
Material cost per replacement, Note 2 | 8 | 50
Material cost per year [Material cost] x [Replacements per year] = | 2 | 5
Labor cost per replacement, Note 3 | 5 | 5
Labor cost per year [Labor cost] x [Replacements per year] = | 1.25 | 0.5
Maintenance cost per year [Material cost per year] + [Labor cost per year] = | 3.25 | 5.5 | -2.25
Annual Saving per Fixture
Annual Savings [Usage savings] + [Demand savings] + [Maintenance Savings] = |  |  | 39.2695
Investment Cost per Fixture
Material cost of lamp(s), kit or fixture |  | 150
Rebate |  | 40
Labor cost for installation |  | 40
Investment cost per fixture [Cost] - [Rebate] + [Labor] = |  | 150
Payback Period
Simple Payback, years [Investment cost] / [Annual saving] = |  |  | 3.8198
Note 1. Refer to an electric bill or utility web site for rate schedules. The incremental usage rate is the rate that would be applied to the last kWh consumed. For meters on a Time of Use rate, estimate the fraction of on peak and off peak for the lighting involved. Then combine the on peak and off peak rates weighted by these fractions. The demand rate would apply only if the lighting was turned on during the short period when peak demand occurs. Use zero if lighting upgrade will not change demand charge. EXAMPLE: Duke Energy Small General Service Rate for over 3000 kWh and over 30 kW per month.
Note 2. Replacement costs may not be well known. EXAMPLE assumes one third of new.
Note 3. Labor cost will vary significantly between projects. EXAMPLE amounts are for illustration only.
About This Work Sheet
This work sheet is produced by Waste Reduction Partners, a program of the Land of Sky Regional Council and the N.C. Department of Environment and Natural Resources, Division of Environmental Assistance and Customer Service. The work of WRP is sponsored, in part, by the State Energy Program and the U.S. Department of Energy. However, any opinion, findings, conclusions, or recommendations expressed herein are those of the author(s) and do not necessarily reflect the views of either the N.C. DENR or the U.S. DOE. An online version of the associated fact sheet is available at: wastereductionpartners.org.

## HighBay Low Bay Work Sheet
WORKSHEET FOR COST COMPARISON AND PAYBACK OF LED LIGHTING UPGRADES
For use with Fact Sheets prepared by Waste Reduction Partners available at: wastereductionpartners.org
Enter values in white cells
Formulas calculate values in gray cells |  | when necessary values have been entered
| EXAMPLE |  |  | COMPARISON
| Before | After | Saving | Before | After | Saving
Project Parameters
Type | Metal Halide | LED
Watts per fixture | 400 | 240 | 160
Operating hours per year | 5000 | 5000
Incremental usage rate per kWh, Note 1 | 0.0711 | 0.0711
Demand rate per kW, Note 1 | 4.81 | 4.81
Annual Energy Cost per Fixture
Kilowatt hours per year, kWh [Watts] x [Operating hours] x [.001 kW/W] = | 2000 | 1200 | 800
Electric usage cost per year [kWh per year] x [Incremental usage rate] = | 142.2 | 85.32 | 56.88
Electric demand cost per year [Watts] x [.001 kW/W] x [demand rate] x [12 months] = | 23.088 | 13.8528 | 9.2352
Annual Maintenance Cost per Fixture
Life, hours, Note 2 | 20000 | 75000
Replacements per year [Life] / [Hours on per year] = | 0.25 | 0.066667
Material cost per replacement, Note 3 | 41.6 | 251.5
Material cost per year [Material cost] x [Replacements per year] = | 10.4 | 16.7667
Labor cost per replacement, Note 4 | 20 | 20
Labor cost per year [Labor cost] x [Replacements per year] = | 5 | 1.3333
Maintenance cost per year [Material cost per year] + [Labor cost per year] = | 15.4 | 18.1 | -2.7
Annual Saving per Fixture
Annual Savings [Usage savings] + [Demand savings] + [Maintenance Savings] = |  |  | 63.4152
Investment Cost per Fixture
Material cost of lamp(s), kit or fixture |  | 503
Rebate |  | 225
Labor cost for installation |  | 40
Investment cost per fixture [Cost] - [Rebate] + [Labor] = |  | 318
Payback Period
Simple Payback, years [Investment cost] / [Annual saving] = |  |  | 5.0146
Note 1. Refer to an electric bill or utility web site for rate schedules. The incremental usage rate is the rate that would be applied to the last kWh consumed. For meters on a Time of Use rate, estimate the fraction of on peak and off peak for the lighting involved. Then combine the on peak and off peak rates weighted by these fractions. The demand rate would apply only if the lighting was turned on during the short period when peak demand occurs. Use zero if lighting upgrade will not change demand charge. EXAMPLE: Duke Energy Large General Service Rate for over 3000kWh and 30 kW per month
Note 2. Replacement costs may not be well known. EXAMPLE assumes one half of new.
Note 3. Labor cost will vary significantly between projects. EXAMPLE amounts are for illustration only.
About This Work Sheet
This work sheet is produced by Waste Reduction Partners, a program of the Land of Sky Regional Council and the N.C. Department of Environment and Natural Resources, Division of Environmental Assistance and Customer Service. The work of WRP is sponsored, in part, by the State Energy Program and the U.S. Department of Energy. However, any opinion, findings, conclusions, or recommendations expressed herein are those of the author(s) and do not necessarily reflect the views of either the N.C. DENR or the U.S. DOE. An online version of the associated fact sheet is available at: wastereductionpartners.org.